## Starter_Nodes
node_id | node_type | name | Rack_Circuit_Capacity_(design) | Rack_Circuit_Capacity_(rated) | Rack_LiquidCool_Fraction | Rack_AirCool_Fraction | Allocated_ITLoad | Allocated_LiquidCool_Load | Allocated_AirCool_Load | Rack_Count | Rated_Cooling_Capacity | Pump_Capacity | RPP_Panel_Capacity_(design) | RPP_BreakerPole_Capacity | RPP_Panel_Capacity_(rated) | AirZone_Cooling_Capacity | Rack_DeltaT_(design) | Maximum_Air_Flow | ColdAisle_Supply_Temp | Rack_Inlet_Setpoint | LL_Cooling_Capacity | Loop_Supply_Setpoint | Loop_DeltaT_(design) | Maximum_Flow_Rate | RPDU_Operational_Cap | RPDU_Design_Capacity | RPDU_Transformer_Rating | UPS_Operational_Cap | UPS_Design_Capacity | UPS_Rated_Capacity | RDHx_MaxHeat_Removal | DTC_MaxCool_Capacity | Capacity_Envelope | Power_Capacity | Thermal_Capacity | Liquid_Cooling_Capacity | Air_Cooling_Capacity
ACU-01-A | Air Cooling Unit | Air Cooling Unit ACU-01-A | [8 empty] | 100 | [6 empty] | 6.9444
ACU-01-B | Air Cooling Unit | Air Cooling Unit ACU-01-B | [8 empty] | 100 | [6 empty] | 6.9444
ACU-02-A | Air Cooling Unit | Air Cooling Unit ACU-02-A | [8 empty] | 100 | [6 empty] | 6.9444
ACU-02-B | Air Cooling Unit | Air Cooling Unit ACU-02-B | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-E1-01 | Air Cooling Unit | CRAH-AZ-R3-E1-01 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-E1-02 | Air Cooling Unit | CRAH-AZ-R3-E1-02 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-E1-03 | Air Cooling Unit | CRAH-AZ-R3-E1-03 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-E1-04 | Air Cooling Unit | CRAH-AZ-R3-E1-04 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-E1-05 | Air Cooling Unit | CRAH-AZ-R3-E1-05 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-E2-01 | Air Cooling Unit | CRAH-AZ-R3-E2-01 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-E2-02 | Air Cooling Unit | CRAH-AZ-R3-E2-02 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-E2-03 | Air Cooling Unit | CRAH-AZ-R3-E2-03 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-W1-01 | Air Cooling Unit | CRAH-AZ-R3-W1-01 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-W1-02 | Air Cooling Unit | CRAH-AZ-R3-W1-02 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-W1-03 | Air Cooling Unit | CRAH-AZ-R3-W1-03 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-W1-04 | Air Cooling Unit | CRAH-AZ-R3-W1-04 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-W1-05 | Air Cooling Unit | CRAH-AZ-R3-W1-05 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-W2-01 | Air Cooling Unit | CRAH-AZ-R3-W2-01 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-W2-02 | Air Cooling Unit | CRAH-AZ-R3-W2-02 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R3-W2-03 | Air Cooling Unit | CRAH-AZ-R3-W2-03 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R4-01 | Air Cooling Unit | CRAH-AZ-R4-01 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R4-02 | Air Cooling Unit | CRAH-AZ-R4-02 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R4-03 | Air Cooling Unit | CRAH-AZ-R4-03 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R5-W-01 | Air Cooling Unit | CRAH-AZ-R5-W-01 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R5-W-02 | Air Cooling Unit | CRAH-AZ-R5-W-02 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R5-W-03 | Air Cooling Unit | CRAH-AZ-R5-W-03 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R5-W-04 | Air Cooling Unit | CRAH-AZ-R5-W-04 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R5-E-05 | Air Cooling Unit | CRAH-AZ-R5-E-05 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R5-E-06 | Air Cooling Unit | CRAH-AZ-R5-E-06 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R5-E-07 | Air Cooling Unit | CRAH-AZ-R5-E-07 | [8 empty] | 100 | [6 empty] | 6.9444
CRAH-AZ-R5-E-08 | Air Cooling Unit | CRAH-AZ-R5-E-08 | [8 empty] | 100 | [6 empty] | 6.9444
AIRZONE-R1 | Air Zone | Air Zone for ROOM-1-1 | [6 empty] | 150 | 24 | [5 empty] | 270 | 12 | 18.75 | 24 | 27
AIRZONE-R2 | Air Zone | Air Zone for ROOM-1-2 | [6 empty] | 75 | 12 | [5 empty] | 270 | 12 | 18.75 | 24 | 27
AIRZONE-R3-E1 | Air Zone | AIRZONE-R3-E1 | [6 empty] | 0 | 0 | [5 empty] | 240 | 12 | 16.6667 | 24 | 27
AIRZONE-R3-E2 | Air Zone | AIRZONE-R3-E2 | [6 empty] | 0 | 0 | [5 empty] | 180 | 12 | 12.5 | 24 | 27
AIRZONE-R3-W1 | Air Zone | AIRZONE-R3-W1 | [6 empty] | 300 | 40 | [5 empty] | 240 | 12 | 16.6667 | 24 | 27
AIRZONE-R3-W2 | Air Zone | AIRZONE-R3-W2 | [6 empty] | 90 | 12 | [5 empty] | 180 | 12 | 12.5 | 24 | 27
AIRZONE-R4 | Air Zone | AIRZONE-R4 | [6 empty] | 0 | 0 | [5 empty] | 180 | 12 | 12.5 | 24 | 27
AIRZONE-R5-W | Air Zone | AIRZONE-R5-W | [6 empty] | 209.25 | 24 | [5 empty] | 270 | 12 | 18.75 | 24 | 27
AIRZONE-R5-E | Air Zone | AIRZONE-R5-E | [6 empty] | 0 | 0 | [5 empty] | 270 | 12 | 18.75 | 24 | 27
CC-R1R2 | Capacity Cell | Capacity Cell R1R2 |  |  |  |  | 450 |  |  | 36 | [22 empty] | 940 | 920 | 940
CC-R3 | Capacity Cell | Capacity Cell R3 |  |  |  |  | 1560 |  |  | 52 | [22 empty] | 3840 | 3680 | 3840
CC-R4 | Capacity Cell | Capacity Cell R4 |  |  |  |  | 0 |  |  | 0 | [22 empty] | 680 | 690 | 680
CC-R5E | Capacity Cell | Capacity Cell R5E |  |  |  |  | 1395 |  |  | 24 | [22 empty] | 1770 | 1840 | 1770
CC-R5W | Capacity Cell | Capacity Cell R5W |  |  |  |  | 0 |  |  | 0 | [22 empty] | 1770 | 1840 | 1770
CDU-R1 | CDU | CDU for ROOM-1-1 | [8 empty] | 250 | 6
CDU-R2 | CDU | CDU for ROOM-1-2 | [8 empty] | 250 | 6
CDU-R3-E | CDU | CDU-R3-E | [8 empty] | 2200 | 52
CDU-R3-W | CDU | CDU-R3-W | [8 empty] | 1200 | 29
CDU-R4 | CDU | CDU-R4 | [8 empty] | 600 | 14
CDU-R5-W | CDU | CDU-R5-W | [8 empty] | 1800 | 43
CDU-R5-E | CDU | CDU-R5-E | [8 empty] | 1800 | 43
DTC-RACK-R2-Z1-R1-01 | DTC | DTC for RACK-R2-Z1-R1-01 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R1-02 | DTC | DTC for RACK-R2-Z1-R1-02 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R1-03 | DTC | DTC for RACK-R2-Z1-R1-03 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R1-04 | DTC | DTC for RACK-R2-Z1-R1-04 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R1-05 | DTC | DTC for RACK-R2-Z1-R1-05 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R1-06 | DTC | DTC for RACK-R2-Z1-R1-06 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R2-01 | DTC | DTC for RACK-R2-Z1-R2-01 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R2-02 | DTC | DTC for RACK-R2-Z1-R2-02 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R2-03 | DTC | DTC for RACK-R2-Z1-R2-03 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R2-04 | DTC | DTC for RACK-R2-Z1-R2-04 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R2-05 | DTC | DTC for RACK-R2-Z1-R2-05 | [29 empty] | 8.3333
DTC-RACK-R2-Z1-R2-06 | DTC | DTC for RACK-R2-Z1-R2-06 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R1-01 | DTC | DTC for RACK-R2-Z2-R1-01 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R1-02 | DTC | DTC for RACK-R2-Z2-R1-02 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R1-03 | DTC | DTC for RACK-R2-Z2-R1-03 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R1-04 | DTC | DTC for RACK-R2-Z2-R1-04 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R1-05 | DTC | DTC for RACK-R2-Z2-R1-05 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R1-06 | DTC | DTC for RACK-R2-Z2-R1-06 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R2-01 | DTC | DTC for RACK-R2-Z2-R2-01 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R2-02 | DTC | DTC for RACK-R2-Z2-R2-02 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R2-03 | DTC | DTC for RACK-R2-Z2-R2-03 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R2-04 | DTC | DTC for RACK-R2-Z2-R2-04 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R2-05 | DTC | DTC for RACK-R2-Z2-R2-05 | [29 empty] | 8.3333
DTC-RACK-R2-Z2-R2-06 | DTC | DTC for RACK-R2-Z2-R2-06 | [29 empty] | 8.3333
DTC-RACK-R3-Z1W-R1-01 | DTC | DTC-RACK-R3-Z1W-R1-01 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-02 | DTC | DTC-RACK-R3-Z1W-R1-02 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-03 | DTC | DTC-RACK-R3-Z1W-R1-03 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-04 | DTC | DTC-RACK-R3-Z1W-R1-04 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-05 | DTC | DTC-RACK-R3-Z1W-R1-05 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-06 | DTC | DTC-RACK-R3-Z1W-R1-06 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-07 | DTC | DTC-RACK-R3-Z1W-R1-07 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-08 | DTC | DTC-RACK-R3-Z1W-R1-08 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-09 | DTC | DTC-RACK-R3-Z1W-R1-09 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-10 | DTC | DTC-RACK-R3-Z1W-R1-10 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-11 | DTC | DTC-RACK-R3-Z1W-R1-11 | [29 empty] | 25
DTC-RACK-R3-Z1W-R1-12 | DTC | DTC-RACK-R3-Z1W-R1-12 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-01 | DTC | DTC-RACK-R3-Z1W-R2-01 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-02 | DTC | DTC-RACK-R3-Z1W-R2-02 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-03 | DTC | DTC-RACK-R3-Z1W-R2-03 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-04 | DTC | DTC-RACK-R3-Z1W-R2-04 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-05 | DTC | DTC-RACK-R3-Z1W-R2-05 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-06 | DTC | DTC-RACK-R3-Z1W-R2-06 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-07 | DTC | DTC-RACK-R3-Z1W-R2-07 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-08 | DTC | DTC-RACK-R3-Z1W-R2-08 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-09 | DTC | DTC-RACK-R3-Z1W-R2-09 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-10 | DTC | DTC-RACK-R3-Z1W-R2-10 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-11 | DTC | DTC-RACK-R3-Z1W-R2-11 | [29 empty] | 25
DTC-RACK-R3-Z1W-R2-12 | DTC | DTC-RACK-R3-Z1W-R2-12 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-01 | DTC | DTC-RACK-R3-Z2W-R1-01 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-02 | DTC | DTC-RACK-R3-Z2W-R1-02 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-03 | DTC | DTC-RACK-R3-Z2W-R1-03 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-04 | DTC | DTC-RACK-R3-Z2W-R1-04 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-05 | DTC | DTC-RACK-R3-Z2W-R1-05 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-06 | DTC | DTC-RACK-R3-Z2W-R1-06 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-07 | DTC | DTC-RACK-R3-Z2W-R1-07 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-08 | DTC | DTC-RACK-R3-Z2W-R1-08 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-09 | DTC | DTC-RACK-R3-Z2W-R1-09 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-10 | DTC | DTC-RACK-R3-Z2W-R1-10 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-11 | DTC | DTC-RACK-R3-Z2W-R1-11 | [29 empty] | 25
DTC-RACK-R3-Z2W-R1-12 | DTC | DTC-RACK-R3-Z2W-R1-12 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-01 | DTC | DTC-RACK-R3-Z2W-R2-01 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-02 | DTC | DTC-RACK-R3-Z2W-R2-02 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-03 | DTC | DTC-RACK-R3-Z2W-R2-03 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-04 | DTC | DTC-RACK-R3-Z2W-R2-04 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-05 | DTC | DTC-RACK-R3-Z2W-R2-05 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-06 | DTC | DTC-RACK-R3-Z2W-R2-06 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-07 | DTC | DTC-RACK-R3-Z2W-R2-07 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-08 | DTC | DTC-RACK-R3-Z2W-R2-08 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-09 | DTC | DTC-RACK-R3-Z2W-R2-09 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-10 | DTC | DTC-RACK-R3-Z2W-R2-10 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-11 | DTC | DTC-RACK-R3-Z2W-R2-11 | [29 empty] | 25
DTC-RACK-R3-Z2W-R2-12 | DTC | DTC-RACK-R3-Z2W-R2-12 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-01 | DTC | DTC-RACK-R3-Z3W-R1-01 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-02 | DTC | DTC-RACK-R3-Z3W-R1-02 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-03 | DTC | DTC-RACK-R3-Z3W-R1-03 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-04 | DTC | DTC-RACK-R3-Z3W-R1-04 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-05 | DTC | DTC-RACK-R3-Z3W-R1-05 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-06 | DTC | DTC-RACK-R3-Z3W-R1-06 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-07 | DTC | DTC-RACK-R3-Z3W-R1-07 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-08 | DTC | DTC-RACK-R3-Z3W-R1-08 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-09 | DTC | DTC-RACK-R3-Z3W-R1-09 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-10 | DTC | DTC-RACK-R3-Z3W-R1-10 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-11 | DTC | DTC-RACK-R3-Z3W-R1-11 | [29 empty] | 25
DTC-RACK-R3-Z3W-R1-12 | DTC | DTC-RACK-R3-Z3W-R1-12 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-01 | DTC | DTC-RACK-R3-Z3W-R2-01 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-02 | DTC | DTC-RACK-R3-Z3W-R2-02 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-03 | DTC | DTC-RACK-R3-Z3W-R2-03 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-04 | DTC | DTC-RACK-R3-Z3W-R2-04 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-05 | DTC | DTC-RACK-R3-Z3W-R2-05 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-06 | DTC | DTC-RACK-R3-Z3W-R2-06 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-07 | DTC | DTC-RACK-R3-Z3W-R2-07 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-08 | DTC | DTC-RACK-R3-Z3W-R2-08 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-09 | DTC | DTC-RACK-R3-Z3W-R2-09 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-10 | DTC | DTC-RACK-R3-Z3W-R2-10 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-11 | DTC | DTC-RACK-R3-Z3W-R2-11 | [29 empty] | 25
DTC-RACK-R3-Z3W-R2-12 | DTC | DTC-RACK-R3-Z3W-R2-12 | [29 empty] | 25
DTC-RACK-R3-Z4E-R1-01 | DTC | DTC-RACK-R3-Z4E-R1-01 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-02 | DTC | DTC-RACK-R3-Z4E-R1-02 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-03 | DTC | DTC-RACK-R3-Z4E-R1-03 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-04 | DTC | DTC-RACK-R3-Z4E-R1-04 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-05 | DTC | DTC-RACK-R3-Z4E-R1-05 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-06 | DTC | DTC-RACK-R3-Z4E-R1-06 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-07 | DTC | DTC-RACK-R3-Z4E-R1-07 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-08 | DTC | DTC-RACK-R3-Z4E-R1-08 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-09 | DTC | DTC-RACK-R3-Z4E-R1-09 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-10 | DTC | DTC-RACK-R3-Z4E-R1-10 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-11 | DTC | DTC-RACK-R3-Z4E-R1-11 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R1-12 | DTC | DTC-RACK-R3-Z4E-R1-12 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-01 | DTC | DTC-RACK-R3-Z4E-R2-01 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-02 | DTC | DTC-RACK-R3-Z4E-R2-02 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-03 | DTC | DTC-RACK-R3-Z4E-R2-03 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-04 | DTC | DTC-RACK-R3-Z4E-R2-04 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-05 | DTC | DTC-RACK-R3-Z4E-R2-05 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-06 | DTC | DTC-RACK-R3-Z4E-R2-06 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-07 | DTC | DTC-RACK-R3-Z4E-R2-07 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-08 | DTC | DTC-RACK-R3-Z4E-R2-08 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-09 | DTC | DTC-RACK-R3-Z4E-R2-09 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-10 | DTC | DTC-RACK-R3-Z4E-R2-10 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-11 | DTC | DTC-RACK-R3-Z4E-R2-11 | [29 empty] | 42.5
DTC-RACK-R3-Z4E-R2-12 | DTC | DTC-RACK-R3-Z4E-R2-12 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-01 | DTC | DTC-RACK-R3-Z5E-R1-01 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-02 | DTC | DTC-RACK-R3-Z5E-R1-02 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-03 | DTC | DTC-RACK-R3-Z5E-R1-03 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-04 | DTC | DTC-RACK-R3-Z5E-R1-04 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-05 | DTC | DTC-RACK-R3-Z5E-R1-05 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-06 | DTC | DTC-RACK-R3-Z5E-R1-06 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-07 | DTC | DTC-RACK-R3-Z5E-R1-07 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-08 | DTC | DTC-RACK-R3-Z5E-R1-08 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-09 | DTC | DTC-RACK-R3-Z5E-R1-09 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-10 | DTC | DTC-RACK-R3-Z5E-R1-10 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-11 | DTC | DTC-RACK-R3-Z5E-R1-11 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R1-12 | DTC | DTC-RACK-R3-Z5E-R1-12 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-01 | DTC | DTC-RACK-R3-Z5E-R2-01 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-02 | DTC | DTC-RACK-R3-Z5E-R2-02 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-03 | DTC | DTC-RACK-R3-Z5E-R2-03 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-04 | DTC | DTC-RACK-R3-Z5E-R2-04 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-05 | DTC | DTC-RACK-R3-Z5E-R2-05 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-06 | DTC | DTC-RACK-R3-Z5E-R2-06 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-07 | DTC | DTC-RACK-R3-Z5E-R2-07 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-08 | DTC | DTC-RACK-R3-Z5E-R2-08 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-09 | DTC | DTC-RACK-R3-Z5E-R2-09 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-10 | DTC | DTC-RACK-R3-Z5E-R2-10 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-11 | DTC | DTC-RACK-R3-Z5E-R2-11 | [29 empty] | 42.5
DTC-RACK-R3-Z5E-R2-12 | DTC | DTC-RACK-R3-Z5E-R2-12 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-01 | DTC | DTC-RACK-R3-Z6E-R1-01 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-02 | DTC | DTC-RACK-R3-Z6E-R1-02 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-03 | DTC | DTC-RACK-R3-Z6E-R1-03 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-04 | DTC | DTC-RACK-R3-Z6E-R1-04 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-05 | DTC | DTC-RACK-R3-Z6E-R1-05 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-06 | DTC | DTC-RACK-R3-Z6E-R1-06 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-07 | DTC | DTC-RACK-R3-Z6E-R1-07 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-08 | DTC | DTC-RACK-R3-Z6E-R1-08 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-09 | DTC | DTC-RACK-R3-Z6E-R1-09 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-10 | DTC | DTC-RACK-R3-Z6E-R1-10 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-11 | DTC | DTC-RACK-R3-Z6E-R1-11 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R1-12 | DTC | DTC-RACK-R3-Z6E-R1-12 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-01 | DTC | DTC-RACK-R3-Z6E-R2-01 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-02 | DTC | DTC-RACK-R3-Z6E-R2-02 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-03 | DTC | DTC-RACK-R3-Z6E-R2-03 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-04 | DTC | DTC-RACK-R3-Z6E-R2-04 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-05 | DTC | DTC-RACK-R3-Z6E-R2-05 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-06 | DTC | DTC-RACK-R3-Z6E-R2-06 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-07 | DTC | DTC-RACK-R3-Z6E-R2-07 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-08 | DTC | DTC-RACK-R3-Z6E-R2-08 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-09 | DTC | DTC-RACK-R3-Z6E-R2-09 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-10 | DTC | DTC-RACK-R3-Z6E-R2-10 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-11 | DTC | DTC-RACK-R3-Z6E-R2-11 | [29 empty] | 42.5
DTC-RACK-R3-Z6E-R2-12 | DTC | DTC-RACK-R3-Z6E-R2-12 | [29 empty] | 42.5
DTC-RACK-R4-Z1-R1-01 | DTC | DTC-RACK-R4-Z1-R1-01 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-02 | DTC | DTC-RACK-R4-Z1-R1-02 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-03 | DTC | DTC-RACK-R4-Z1-R1-03 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-04 | DTC | DTC-RACK-R4-Z1-R1-04 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-05 | DTC | DTC-RACK-R4-Z1-R1-05 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-06 | DTC | DTC-RACK-R4-Z1-R1-06 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-07 | DTC | DTC-RACK-R4-Z1-R1-07 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-08 | DTC | DTC-RACK-R4-Z1-R1-08 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-09 | DTC | DTC-RACK-R4-Z1-R1-09 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-10 | DTC | DTC-RACK-R4-Z1-R1-10 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-11 | DTC | DTC-RACK-R4-Z1-R1-11 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R1-12 | DTC | DTC-RACK-R4-Z1-R1-12 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-01 | DTC | DTC-RACK-R4-Z1-R2-01 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-02 | DTC | DTC-RACK-R4-Z1-R2-02 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-03 | DTC | DTC-RACK-R4-Z1-R2-03 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-04 | DTC | DTC-RACK-R4-Z1-R2-04 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-05 | DTC | DTC-RACK-R4-Z1-R2-05 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-06 | DTC | DTC-RACK-R4-Z1-R2-06 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-07 | DTC | DTC-RACK-R4-Z1-R2-07 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-08 | DTC | DTC-RACK-R4-Z1-R2-08 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-09 | DTC | DTC-RACK-R4-Z1-R2-09 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-10 | DTC | DTC-RACK-R4-Z1-R2-10 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-11 | DTC | DTC-RACK-R4-Z1-R2-11 | [29 empty] | 15.5556
DTC-RACK-R4-Z1-R2-12 | DTC | DTC-RACK-R4-Z1-R2-12 | [29 empty] | 15.5556
DTC-RACK-R5-Z1W-R1-01 | DTC | DTC-RACK-R5-Z1W-R1-01 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-02 | DTC | DTC-RACK-R5-Z1W-R1-02 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-03 | DTC | DTC-RACK-R5-Z1W-R1-03 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-04 | DTC | DTC-RACK-R5-Z1W-R1-04 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-05 | DTC | DTC-RACK-R5-Z1W-R1-05 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-06 | DTC | DTC-RACK-R5-Z1W-R1-06 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-07 | DTC | DTC-RACK-R5-Z1W-R1-07 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-08 | DTC | DTC-RACK-R5-Z1W-R1-08 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-09 | DTC | DTC-RACK-R5-Z1W-R1-09 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-10 | DTC | DTC-RACK-R5-Z1W-R1-10 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-11 | DTC | DTC-RACK-R5-Z1W-R1-11 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R1-12 | DTC | DTC-RACK-R5-Z1W-R1-12 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-01 | DTC | DTC-RACK-R5-Z1W-R2-01 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-02 | DTC | DTC-RACK-R5-Z1W-R2-02 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-03 | DTC | DTC-RACK-R5-Z1W-R2-03 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-04 | DTC | DTC-RACK-R5-Z1W-R2-04 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-05 | DTC | DTC-RACK-R5-Z1W-R2-05 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-06 | DTC | DTC-RACK-R5-Z1W-R2-06 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-07 | DTC | DTC-RACK-R5-Z1W-R2-07 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-08 | DTC | DTC-RACK-R5-Z1W-R2-08 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-09 | DTC | DTC-RACK-R5-Z1W-R2-09 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-10 | DTC | DTC-RACK-R5-Z1W-R2-10 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-11 | DTC | DTC-RACK-R5-Z1W-R2-11 | [29 empty] | 56.6667
DTC-RACK-R5-Z1W-R2-12 | DTC | DTC-RACK-R5-Z1W-R2-12 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-01 | DTC | DTC-RACK-R5-Z2E-R1-01 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-02 | DTC | DTC-RACK-R5-Z2E-R1-02 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-03 | DTC | DTC-RACK-R5-Z2E-R1-03 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-04 | DTC | DTC-RACK-R5-Z2E-R1-04 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-05 | DTC | DTC-RACK-R5-Z2E-R1-05 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-06 | DTC | DTC-RACK-R5-Z2E-R1-06 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-07 | DTC | DTC-RACK-R5-Z2E-R1-07 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-08 | DTC | DTC-RACK-R5-Z2E-R1-08 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-09 | DTC | DTC-RACK-R5-Z2E-R1-09 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-10 | DTC | DTC-RACK-R5-Z2E-R1-10 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-11 | DTC | DTC-RACK-R5-Z2E-R1-11 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R1-12 | DTC | DTC-RACK-R5-Z2E-R1-12 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-01 | DTC | DTC-RACK-R5-Z2E-R2-01 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-02 | DTC | DTC-RACK-R5-Z2E-R2-02 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-03 | DTC | DTC-RACK-R5-Z2E-R2-03 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-04 | DTC | DTC-RACK-R5-Z2E-R2-04 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-05 | DTC | DTC-RACK-R5-Z2E-R2-05 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-06 | DTC | DTC-RACK-R5-Z2E-R2-06 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-07 | DTC | DTC-RACK-R5-Z2E-R2-07 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-08 | DTC | DTC-RACK-R5-Z2E-R2-08 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-09 | DTC | DTC-RACK-R5-Z2E-R2-09 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-10 | DTC | DTC-RACK-R5-Z2E-R2-10 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-11 | DTC | DTC-RACK-R5-Z2E-R2-11 | [29 empty] | 56.6667
DTC-RACK-R5-Z2E-R2-12 | DTC | DTC-RACK-R5-Z2E-R2-12 | [29 empty] | 56.6667
LL-R1 | Liquid Loop | Liquid Loop for ROOM-1-1 | [5 empty] | 150 |  | 24 | [10 empty] | 200 | 22 | 10 | 5
LL-R2 | Liquid Loop | Liquid Loop for ROOM-1-2 | [5 empty] | 75 |  | 12 | [10 empty] | 200 | 22 | 10 | 5
LL-R3-E | Liquid Loop | LL-R3-E | [5 empty] | 0 |  | 0 | [10 empty] | 2000 | 22 | 10 | 48
LL-R3-W | Liquid Loop | LL-R3-W | [5 empty] | 1170 |  | 52 | [10 empty] | 1000 | 22 | 10 | 24
LL-R4 | Liquid Loop | LL-R4 | [5 empty] | 0 |  | 0 | [10 empty] | 500 | 22 | 10 | 12
LL-R5-W | Liquid Loop | LL-R5-W | [5 empty] | 1185.75 |  | 24 | [10 empty] | 1500 | 22 | 10 | 36
LL-R5-E | Liquid Loop | LL-R5-E | [5 empty] | 0 |  | 0 | [10 empty] | 1500 | 22 | 10 | 36
RACK-R1-Z1-R1-01 | Rack | Rack 1 in ROW-R1-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R1-Z1-R2-01 | Rack | Rack 1 in ROW-R1-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R1-Z2-R1-01 | Rack | Rack 1 in ROW-R1-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R1-Z2-R2-01 | Rack | Rack 1 in ROW-R1-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R2-Z1-R1-01 | Rack | Rack 1 in ROW-R2-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R2-Z1-R2-01 | Rack | Rack 1 in ROW-R2-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R2-Z2-R1-01 | Rack | Rack 1 in ROW-R2-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R2-Z2-R2-01 | Rack | Rack 1 in ROW-R2-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z1-R1-02 | Rack | Rack 2 in ROW-R1-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z1-R2-02 | Rack | Rack 2 in ROW-R1-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z2-R1-02 | Rack | Rack 2 in ROW-R1-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z2-R2-02 | Rack | Rack 2 in ROW-R1-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R2-Z1-R1-02 | Rack | Rack 2 in ROW-R2-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R2-Z1-R2-02 | Rack | Rack 2 in ROW-R2-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R2-Z2-R1-02 | Rack | Rack 2 in ROW-R2-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R2-Z2-R2-02 | Rack | Rack 2 in ROW-R2-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R1-Z1-R1-03 | Rack | Rack 3 in ROW-R1-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R1-Z1-R2-03 | Rack | Rack 3 in ROW-R1-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R1-Z2-R1-03 | Rack | Rack 3 in ROW-R1-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z2-R2-03 | Rack | Rack 3 in ROW-R1-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R2-Z1-R1-03 | Rack | Rack 3 in ROW-R2-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R2-Z1-R2-03 | Rack | Rack 3 in ROW-R2-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R2-Z2-R1-03 | Rack | Rack 3 in ROW-R2-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R2-Z2-R2-03 | Rack | Rack 3 in ROW-R2-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z1-R1-04 | Rack | Rack 4 in ROW-R1-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R1-Z1-R2-04 | Rack | Rack 4 in ROW-R1-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R1-Z2-R1-04 | Rack | Rack 4 in ROW-R1-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R1-Z2-R2-04 | Rack | Rack 4 in ROW-R1-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R2-Z1-R1-04 | Rack | Rack 4 in ROW-R2-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R2-Z1-R2-04 | Rack | Rack 4 in ROW-R2-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 15 | 7.5 | 7.5
RACK-R2-Z2-R1-04 | Rack | Rack 4 in ROW-R2-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R2-Z2-R2-04 | Rack | Rack 4 in ROW-R2-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z1-R1-05 | Rack | Rack 5 in ROW-R1-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z1-R2-05 | Rack | Rack 5 in ROW-R1-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z2-R1-05 | Rack | Rack 5 in ROW-R1-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R1-Z2-R2-05 | Rack | Rack 5 in ROW-R1-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 10 | 5 | 5
RACK-R2-Z1-R1-05 | Rack | Rack 5 in ROW-R2-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R2-Z1-R2-05 | Rack | Rack 5 in ROW-R2-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R2-Z2-R1-05 | Rack | Rack 5 in ROW-R2-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R2-Z2-R2-05 | Rack | Rack 5 in ROW-R2-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R1-Z1-R1-06 | Rack | Rack 6 in ROW-R1-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R1-Z1-R2-06 | Rack | Rack 6 in ROW-R1-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R1-Z2-R1-06 | Rack | Rack 6 in ROW-R1-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R1-Z2-R2-06 | Rack | Rack 6 in ROW-R1-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R2-Z1-R1-06 | Rack | Rack 6 in ROW-R2-Z1-R1 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R2-Z1-R2-06 | Rack | Rack 6 in ROW-R2-Z1-R2 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R2-Z2-R1-06 | Rack | Rack 6 in ROW-R2-Z2-R1 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R2-Z2-R2-06 | Rack | Rack 6 in ROW-R2-Z2-R2 | 15 | 18 | 0.5 | 0.5 | 0 | 0 | 0
RACK-R3-Z1W-R1-01 | Rack | RACK-R3-Z1W-R1-01 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-02 | Rack | RACK-R3-Z1W-R1-02 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-03 | Rack | RACK-R3-Z1W-R1-03 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-04 | Rack | RACK-R3-Z1W-R1-04 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-05 | Rack | RACK-R3-Z1W-R1-05 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-06 | Rack | RACK-R3-Z1W-R1-06 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-07 | Rack | RACK-R3-Z1W-R1-07 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-08 | Rack | RACK-R3-Z1W-R1-08 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-09 | Rack | RACK-R3-Z1W-R1-09 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-10 | Rack | RACK-R3-Z1W-R1-10 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-11 | Rack | RACK-R3-Z1W-R1-11 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R1-12 | Rack | RACK-R3-Z1W-R1-12 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R2-01 | Rack | RACK-R3-Z1W-R2-01 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z1W-R2-02 | Rack | RACK-R3-Z1W-R2-02 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z1W-R2-03 | Rack | RACK-R3-Z1W-R2-03 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z1W-R2-04 | Rack | RACK-R3-Z1W-R2-04 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z1W-R2-05 | Rack | RACK-R3-Z1W-R2-05 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R2-06 | Rack | RACK-R3-Z1W-R2-06 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R2-07 | Rack | RACK-R3-Z1W-R2-07 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R2-08 | Rack | RACK-R3-Z1W-R2-08 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z1W-R2-09 | Rack | RACK-R3-Z1W-R2-09 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z1W-R2-10 | Rack | RACK-R3-Z1W-R2-10 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z1W-R2-11 | Rack | RACK-R3-Z1W-R2-11 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z1W-R2-12 | Rack | RACK-R3-Z1W-R2-12 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z2W-R1-01 | Rack | RACK-R3-Z2W-R1-01 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-02 | Rack | RACK-R3-Z2W-R1-02 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-03 | Rack | RACK-R3-Z2W-R1-03 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-04 | Rack | RACK-R3-Z2W-R1-04 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-05 | Rack | RACK-R3-Z2W-R1-05 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-06 | Rack | RACK-R3-Z2W-R1-06 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-07 | Rack | RACK-R3-Z2W-R1-07 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-08 | Rack | RACK-R3-Z2W-R1-08 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-09 | Rack | RACK-R3-Z2W-R1-09 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-10 | Rack | RACK-R3-Z2W-R1-10 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-11 | Rack | RACK-R3-Z2W-R1-11 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R1-12 | Rack | RACK-R3-Z2W-R1-12 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-01 | Rack | RACK-R3-Z2W-R2-01 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-02 | Rack | RACK-R3-Z2W-R2-02 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-03 | Rack | RACK-R3-Z2W-R2-03 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-04 | Rack | RACK-R3-Z2W-R2-04 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-05 | Rack | RACK-R3-Z2W-R2-05 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-06 | Rack | RACK-R3-Z2W-R2-06 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-07 | Rack | RACK-R3-Z2W-R2-07 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-08 | Rack | RACK-R3-Z2W-R2-08 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-09 | Rack | RACK-R3-Z2W-R2-09 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-10 | Rack | RACK-R3-Z2W-R2-10 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-11 | Rack | RACK-R3-Z2W-R2-11 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z2W-R2-12 | Rack | RACK-R3-Z2W-R2-12 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-01 | Rack | RACK-R3-Z3W-R1-01 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-02 | Rack | RACK-R3-Z3W-R1-02 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-03 | Rack | RACK-R3-Z3W-R1-03 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-04 | Rack | RACK-R3-Z3W-R1-04 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-05 | Rack | RACK-R3-Z3W-R1-05 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-06 | Rack | RACK-R3-Z3W-R1-06 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-07 | Rack | RACK-R3-Z3W-R1-07 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-08 | Rack | RACK-R3-Z3W-R1-08 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-09 | Rack | RACK-R3-Z3W-R1-09 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-10 | Rack | RACK-R3-Z3W-R1-10 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-11 | Rack | RACK-R3-Z3W-R1-11 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R1-12 | Rack | RACK-R3-Z3W-R1-12 | 30 | 36 | 0.75 | 0.25 | 30 | 22.5 | 7.5
RACK-R3-Z3W-R2-01 | Rack | RACK-R3-Z3W-R2-01 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-02 | Rack | RACK-R3-Z3W-R2-02 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-03 | Rack | RACK-R3-Z3W-R2-03 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-04 | Rack | RACK-R3-Z3W-R2-04 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-05 | Rack | RACK-R3-Z3W-R2-05 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-06 | Rack | RACK-R3-Z3W-R2-06 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-07 | Rack | RACK-R3-Z3W-R2-07 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-08 | Rack | RACK-R3-Z3W-R2-08 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-09 | Rack | RACK-R3-Z3W-R2-09 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-10 | Rack | RACK-R3-Z3W-R2-10 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-11 | Rack | RACK-R3-Z3W-R2-11 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z3W-R2-12 | Rack | RACK-R3-Z3W-R2-12 | 30 | 36 | 0.75 | 0.25 | 0 | 0 | 0
RACK-R3-Z4E-R1-01 | Rack | RACK-R3-Z4E-R1-01 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-02 | Rack | RACK-R3-Z4E-R1-02 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-03 | Rack | RACK-R3-Z4E-R1-03 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-04 | Rack | RACK-R3-Z4E-R1-04 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-05 | Rack | RACK-R3-Z4E-R1-05 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-06 | Rack | RACK-R3-Z4E-R1-06 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-07 | Rack | RACK-R3-Z4E-R1-07 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-08 | Rack | RACK-R3-Z4E-R1-08 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-09 | Rack | RACK-R3-Z4E-R1-09 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-10 | Rack | RACK-R3-Z4E-R1-10 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-11 | Rack | RACK-R3-Z4E-R1-11 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R1-12 | Rack | RACK-R3-Z4E-R1-12 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-01 | Rack | RACK-R3-Z4E-R2-01 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-02 | Rack | RACK-R3-Z4E-R2-02 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-03 | Rack | RACK-R3-Z4E-R2-03 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-04 | Rack | RACK-R3-Z4E-R2-04 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-05 | Rack | RACK-R3-Z4E-R2-05 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-06 | Rack | RACK-R3-Z4E-R2-06 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-07 | Rack | RACK-R3-Z4E-R2-07 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-08 | Rack | RACK-R3-Z4E-R2-08 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-09 | Rack | RACK-R3-Z4E-R2-09 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-10 | Rack | RACK-R3-Z4E-R2-10 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-11 | Rack | RACK-R3-Z4E-R2-11 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z4E-R2-12 | Rack | RACK-R3-Z4E-R2-12 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-01 | Rack | RACK-R3-Z5E-R1-01 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-02 | Rack | RACK-R3-Z5E-R1-02 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-03 | Rack | RACK-R3-Z5E-R1-03 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-04 | Rack | RACK-R3-Z5E-R1-04 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-05 | Rack | RACK-R3-Z5E-R1-05 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-06 | Rack | RACK-R3-Z5E-R1-06 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-07 | Rack | RACK-R3-Z5E-R1-07 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-08 | Rack | RACK-R3-Z5E-R1-08 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-09 | Rack | RACK-R3-Z5E-R1-09 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-10 | Rack | RACK-R3-Z5E-R1-10 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-11 | Rack | RACK-R3-Z5E-R1-11 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R1-12 | Rack | RACK-R3-Z5E-R1-12 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-01 | Rack | RACK-R3-Z5E-R2-01 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-02 | Rack | RACK-R3-Z5E-R2-02 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-03 | Rack | RACK-R3-Z5E-R2-03 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-04 | Rack | RACK-R3-Z5E-R2-04 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-05 | Rack | RACK-R3-Z5E-R2-05 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-06 | Rack | RACK-R3-Z5E-R2-06 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-07 | Rack | RACK-R3-Z5E-R2-07 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-08 | Rack | RACK-R3-Z5E-R2-08 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-09 | Rack | RACK-R3-Z5E-R2-09 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-10 | Rack | RACK-R3-Z5E-R2-10 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-11 | Rack | RACK-R3-Z5E-R2-11 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z5E-R2-12 | Rack | RACK-R3-Z5E-R2-12 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-01 | Rack | RACK-R3-Z6E-R1-01 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-02 | Rack | RACK-R3-Z6E-R1-02 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-03 | Rack | RACK-R3-Z6E-R1-03 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-04 | Rack | RACK-R3-Z6E-R1-04 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-05 | Rack | RACK-R3-Z6E-R1-05 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-06 | Rack | RACK-R3-Z6E-R1-06 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-07 | Rack | RACK-R3-Z6E-R1-07 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-08 | Rack | RACK-R3-Z6E-R1-08 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-09 | Rack | RACK-R3-Z6E-R1-09 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-10 | Rack | RACK-R3-Z6E-R1-10 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-11 | Rack | RACK-R3-Z6E-R1-11 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R1-12 | Rack | RACK-R3-Z6E-R1-12 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-01 | Rack | RACK-R3-Z6E-R2-01 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-02 | Rack | RACK-R3-Z6E-R2-02 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-03 | Rack | RACK-R3-Z6E-R2-03 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-04 | Rack | RACK-R3-Z6E-R2-04 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-05 | Rack | RACK-R3-Z6E-R2-05 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-06 | Rack | RACK-R3-Z6E-R2-06 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-07 | Rack | RACK-R3-Z6E-R2-07 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-08 | Rack | RACK-R3-Z6E-R2-08 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-09 | Rack | RACK-R3-Z6E-R2-09 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-10 | Rack | RACK-R3-Z6E-R2-10 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-11 | Rack | RACK-R3-Z6E-R2-11 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R3-Z6E-R2-12 | Rack | RACK-R3-Z6E-R2-12 | 45 | 54 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R4-Z1-R1-01 | Rack | RACK-R4-Z1-R1-01 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-02 | Rack | RACK-R4-Z1-R1-02 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-03 | Rack | RACK-R4-Z1-R1-03 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-04 | Rack | RACK-R4-Z1-R1-04 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-05 | Rack | RACK-R4-Z1-R1-05 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-06 | Rack | RACK-R4-Z1-R1-06 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-07 | Rack | RACK-R4-Z1-R1-07 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-08 | Rack | RACK-R4-Z1-R1-08 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-09 | Rack | RACK-R4-Z1-R1-09 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-10 | Rack | RACK-R4-Z1-R1-10 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-11 | Rack | RACK-R4-Z1-R1-11 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R1-12 | Rack | RACK-R4-Z1-R1-12 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-01 | Rack | RACK-R4-Z1-R2-01 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-02 | Rack | RACK-R4-Z1-R2-02 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-03 | Rack | RACK-R4-Z1-R2-03 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-04 | Rack | RACK-R4-Z1-R2-04 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-05 | Rack | RACK-R4-Z1-R2-05 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-06 | Rack | RACK-R4-Z1-R2-06 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-07 | Rack | RACK-R4-Z1-R2-07 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-08 | Rack | RACK-R4-Z1-R2-08 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-09 | Rack | RACK-R4-Z1-R2-09 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-10 | Rack | RACK-R4-Z1-R2-10 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-11 | Rack | RACK-R4-Z1-R2-11 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R4-Z1-R2-12 | Rack | RACK-R4-Z1-R2-12 | 20 | 25 | 0.7 | 0.3 | 0 | 0 | 0
RACK-R5-Z1W-R1-01 | Rack | RACK-R5-Z1W-R1-01 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-02 | Rack | RACK-R5-Z1W-R1-02 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-03 | Rack | RACK-R5-Z1W-R1-03 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-04 | Rack | RACK-R5-Z1W-R1-04 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-05 | Rack | RACK-R5-Z1W-R1-05 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-06 | Rack | RACK-R5-Z1W-R1-06 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-07 | Rack | RACK-R5-Z1W-R1-07 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-08 | Rack | RACK-R5-Z1W-R1-08 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-09 | Rack | RACK-R5-Z1W-R1-09 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-10 | Rack | RACK-R5-Z1W-R1-10 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-11 | Rack | RACK-R5-Z1W-R1-11 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R1-12 | Rack | RACK-R5-Z1W-R1-12 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-01 | Rack | RACK-R5-Z1W-R2-01 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-02 | Rack | RACK-R5-Z1W-R2-02 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-03 | Rack | RACK-R5-Z1W-R2-03 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-04 | Rack | RACK-R5-Z1W-R2-04 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-05 | Rack | RACK-R5-Z1W-R2-05 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-06 | Rack | RACK-R5-Z1W-R2-06 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-07 | Rack | RACK-R5-Z1W-R2-07 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-08 | Rack | RACK-R5-Z1W-R2-08 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-09 | Rack | RACK-R5-Z1W-R2-09 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-10 | Rack | RACK-R5-Z1W-R2-10 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-11 | Rack | RACK-R5-Z1W-R2-11 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z1W-R2-12 | Rack | RACK-R5-Z1W-R2-12 | 60 | 72 | 0.85 | 0.15 | 0 | 0 | 0
RACK-R5-Z2E-R1-01 | Rack | RACK-R5-Z2E-R1-01 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-02 | Rack | RACK-R5-Z2E-R1-02 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-03 | Rack | RACK-R5-Z2E-R1-03 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-04 | Rack | RACK-R5-Z2E-R1-04 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-05 | Rack | RACK-R5-Z2E-R1-05 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-06 | Rack | RACK-R5-Z2E-R1-06 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-07 | Rack | RACK-R5-Z2E-R1-07 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-08 | Rack | RACK-R5-Z2E-R1-08 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-09 | Rack | RACK-R5-Z2E-R1-09 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-10 | Rack | RACK-R5-Z2E-R1-10 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-11 | Rack | RACK-R5-Z2E-R1-11 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R1-12 | Rack | RACK-R5-Z2E-R1-12 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-01 | Rack | RACK-R5-Z2E-R2-01 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-02 | Rack | RACK-R5-Z2E-R2-02 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-03 | Rack | RACK-R5-Z2E-R2-03 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-04 | Rack | RACK-R5-Z2E-R2-04 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-05 | Rack | RACK-R5-Z2E-R2-05 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-06 | Rack | RACK-R5-Z2E-R2-06 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-07 | Rack | RACK-R5-Z2E-R2-07 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-08 | Rack | RACK-R5-Z2E-R2-08 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-09 | Rack | RACK-R5-Z2E-R2-09 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-10 | Rack | RACK-R5-Z2E-R2-10 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-11 | Rack | RACK-R5-Z2E-R2-11 | 60 | 72 | 0.85 | 0.15 | 60 | 51 | 9
RACK-R5-Z2E-R2-12 | Rack | RACK-R5-Z2E-R2-12 | 60 | 72 | 0.85 | 0.15 | 15 | 12.75 | 2.25
RDHX-RACK-R1-Z1-R1-01 | RDHx | RDHx for RACK-R1-Z1-R1-01 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R1-02 | RDHx | RDHx for RACK-R1-Z1-R1-02 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R1-03 | RDHx | RDHx for RACK-R1-Z1-R1-03 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R1-04 | RDHx | RDHx for RACK-R1-Z1-R1-04 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R1-05 | RDHx | RDHx for RACK-R1-Z1-R1-05 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R1-06 | RDHx | RDHx for RACK-R1-Z1-R1-06 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R2-01 | RDHx | RDHx for RACK-R1-Z1-R2-01 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R2-02 | RDHx | RDHx for RACK-R1-Z1-R2-02 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R2-03 | RDHx | RDHx for RACK-R1-Z1-R2-03 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R2-04 | RDHx | RDHx for RACK-R1-Z1-R2-04 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R2-05 | RDHx | RDHx for RACK-R1-Z1-R2-05 | [28 empty] | 8.3333
RDHX-RACK-R1-Z1-R2-06 | RDHx | RDHx for RACK-R1-Z1-R2-06 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R1-01 | RDHx | RDHx for RACK-R1-Z2-R1-01 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R1-02 | RDHx | RDHx for RACK-R1-Z2-R1-02 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R1-03 | RDHx | RDHx for RACK-R1-Z2-R1-03 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R1-04 | RDHx | RDHx for RACK-R1-Z2-R1-04 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R1-05 | RDHx | RDHx for RACK-R1-Z2-R1-05 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R1-06 | RDHx | RDHx for RACK-R1-Z2-R1-06 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R2-01 | RDHx | RDHx for RACK-R1-Z2-R2-01 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R2-02 | RDHx | RDHx for RACK-R1-Z2-R2-02 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R2-03 | RDHx | RDHx for RACK-R1-Z2-R2-03 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R2-04 | RDHx | RDHx for RACK-R1-Z2-R2-04 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R2-05 | RDHx | RDHx for RACK-R1-Z2-R2-05 | [28 empty] | 8.3333
RDHX-RACK-R1-Z2-R2-06 | RDHx | RDHx for RACK-R1-Z2-R2-06 | [28 empty] | 8.3333
BDL-R1R2 | Room Bundle | Room Bundle 01 |  |  |  |  | 450 |  |  | 36 | [22 empty] | 940 | 920 | 940
BDL-R3 | Room Bundle | Room Bundle 02 |  |  |  |  | 1560 |  |  | 52 | [22 empty] | 3840 | 3680 | 3840
BDL-R4 | Room Bundle | Room Bundle 03 |  |  |  |  | 0 |  |  | 0 | [22 empty] | 680 | 690 | 680
BDL-R5 | Room Bundle | Room Bundle 04 |  |  |  |  | 1395 |  |  | 24 | [22 empty] | 3540 | 3680 | 3540
RPDU-R1 | Room PDU | Room PDU for ROOM-1-1 |  |  |  |  | 240 |  |  | 18 | [14 empty] | 400 | 480 | 600
RPDU-R2 | Room PDU | Room PDU for ROOM-1-2 |  |  |  |  | 210 |  |  | 18 | [14 empty] | 400 | 480 | 600
RPDU-R3-A | Room PDU | RPDU-R3-A |  |  |  |  | 1560 |  |  | 52 | [14 empty] | 4000 | 4000 | 5000
RPDU-R4-A | Room PDU | RPDU-R4-A |  |  |  |  | 0 |  |  | 0 | [14 empty] | 2500 | 3200 | 4000
RPDU-R3-B | Room PDU | RPDU-R3-B |  |  |  |  | 1395 |  |  | 24 | [14 empty] | 3000 | 3200 | 4000
RPDU-R3R4-B | Room PDU | RPDU-R3R4-B |  |  |  |  | 780 |  |  | 0 | [14 empty] | 960 | 960 | 1200
RPDU-R5-A | Room PDU | RPDU-R5-A |  |  |  |  | 780 |  |  | 0 | [14 empty] | 4000 | 4000 | 5000
RPDU-R5-B | Room PDU | RPDU-R5-B |  |  |  |  | 1395 |  |  | 0 | [14 empty] | 3000 | 3200 | 4000
ROW-R1-Z1-R1 | Row | Row 1 in ZONE-R1-Z1 | 90 |  |  |  | 90 |  |  | 6
ROW-R1-Z2-R1 | Row | Row 1 in ZONE-R1-Z2 | 90 |  |  |  | 60 |  |  | 6
ROW-R2-Z1-R1 | Row | Row 1 in ZONE-R2-Z1 | 90 |  |  |  | 90 |  |  | 6
ROW-R2-Z2-R1 | Row | Row 1 in ZONE-R2-Z2 | 90 |  |  |  | 60 |  |  | 6
ROW-R1-Z1-R2 | Row | Row 2 in ZONE-R1-Z1 | 90 |  |  |  | 90 |  |  | 6
ROW-R1-Z2-R2 | Row | Row 2 in ZONE-R1-Z2 | 90 |  |  |  | 60 |  |  | 6
ROW-R2-Z1-R2 | Row | Row 2 in ZONE-R2-Z1 | 90 |  |  |  | 0 |  |  | 0
ROW-R2-Z2-R2 | Row | Row 2 in ZONE-R2-Z2 | 90 |  |  |  | 0 |  |  | 0
ROW-R3-Z1W-R1 | Row | ROW-R3-Z1W-R1 | 360 |  |  |  | 360 |  |  | 12
ROW-R3-Z1W-R2 | Row | ROW-R3-Z1W-R2 | 360 |  |  |  | 120 |  |  | 4
ROW-R3-Z2W-R1 | Row | ROW-R3-Z2W-R1 | 360 |  |  |  | 360 |  |  | 12
ROW-R3-Z2W-R2 | Row | ROW-R3-Z2W-R2 | 360 |  |  |  | 360 |  |  | 12
ROW-R3-Z3W-R1 | Row | ROW-R3-Z3W-R1 | 360 |  |  |  | 360 |  |  | 12
ROW-R3-Z3W-R2 | Row | ROW-R3-Z3W-R2 | 360 |  |  |  | 0 |  |  | 0
ROW-R3-Z4E-R1 | Row | ROW-R3-Z4E-R1 | 540 |  |  |  | 0 |  |  | 0
ROW-R3-Z4E-R2 | Row | ROW-R3-Z4E-R2 | 540 |  |  |  | 0 |  |  | 0
ROW-R3-Z5E-R1 | Row | ROW-R3-Z5E-R1 | 540 |  |  |  | 0 |  |  | 0
ROW-R3-Z5E-R2 | Row | ROW-R3-Z5E-R2 | 540 |  |  |  | 0 |  |  | 0
ROW-R3-Z6E-R1 | Row | ROW-R3-Z6E-R1 | 540 |  |  |  | 0 |  |  | 0
ROW-R3-Z6E-R2 | Row | ROW-R3-Z6E-R2 | 540 |  |  |  | 0 |  |  | 0
ROW-R4-Z1-R1 | Row | ROW-R4-Z1-R1 | 240 |  |  |  | 0 |  |  | 0
ROW-R4-Z1-R2 | Row | ROW-R4-Z1-R2 | 240 |  |  |  | 0 |  |  | 0
ROW-R5-Z1W-R1 | Row | ROW-R5-Z1W-R1 | 720 |  |  |  | 0 |  |  | 0
ROW-R5-Z1W-R2 | Row | ROW-R5-Z1W-R2 | 720 |  |  |  | 0 |  |  | 0
ROW-R5-Z2E-R1 | Row | ROW-R5-Z2E-R1 | 720 |  |  |  | 720 |  |  | 12
ROW-R5-Z2E-R2 | Row | ROW-R5-Z2E-R2 | 720 |  |  |  | 675 |  |  | 12
RPP-R1-1 | RPP | RPP 1 for ROOM-1-1 |  |  |  |  | 120 |  |  | 9 |  |  | 230 | 54 | 288
RPP-R1-2 | RPP | RPP 2 for ROOM-1-1 |  |  |  |  | 120 |  |  | 9 |  |  | 230 | 54 | 288
RPP-R2-1 | RPP | RPP 1 for ROOM-1-2 |  |  |  |  | 105 |  |  | 9 |  |  | 230 | 54 | 288
RPP-R2-2 | RPP | RPP 2 for ROOM-1-2 |  |  |  |  | 105 |  |  | 9 |  |  | 230 | 54 | 288
RPP-R3-A1 | RPP | RPP-R3-A1 |  |  |  |  | 960 |  |  | 32 |  |  | 920 | 120 | 1150
RPP-R3-A2 | RPP | RPP-R3-A2 |  |  |  |  | 600 |  |  | 20 |  |  | 920 | 120 | 1150
RPP-R3-A3 | RPP | RPP-R3-A3 |  |  |  |  | 0 |  |  | 0 |  |  | 920 | 120 | 1150
RPP-R3-A4 | RPP | RPP-R3-A4 |  |  |  |  | 0 |  |  | 0 |  |  | 920 | 120 | 1150
RPP-R4-A5 | RPP | RPP-R4-A5 |  |  |  |  | 0 |  |  | 0 |  |  | 345 | 84 | 431
RPP-R4-A6 | RPP | RPP-R4-A6 |  |  |  |  | 0 |  |  | 0 |  |  | 345 | 84 | 431
RPP-R5-A1 | RPP | RPP-R5-A1 |  |  |  |  | 0 |  |  | 0 |  |  | 920 | 84 | 1150
RPP-R5-A2 | RPP | RPP-R5-A2 |  |  |  |  | 0 |  |  | 0 |  |  | 920 | 84 | 1150
RPP-R5-A3 | RPP | RPP-R5-A3 |  |  |  |  | 720 |  |  | 12 |  |  | 920 | 84 | 1150
RPP-R5-A4 | RPP | RPP-R5-A4 |  |  |  |  | 675 |  |  | 12 |  |  | 920 | 84 | 1150
RPP-R3-B1 | RPP | RPP-R3-B1 |  |  |  |  | 360 |  |  | 0 |  |  | 1380 | 120 | 1725
RPP-R3-B2 | RPP | RPP-R3-B2 |  |  |  |  | 420 |  |  | 0 |  |  | 1380 | 120 | 1725
RPP-R3-B3 | RPP | RPP-R3-B3 |  |  |  |  | 780 |  |  | 0 |  |  | 920 | 120 | 1150
RPP-R3-B4 | RPP | RPP-R3-B4 |  |  |  |  | 0 |  |  | 0 |  |  | 1380 | 120 | 1725
RPP-R4-B5 | RPP | RPP-R4-B5 |  |  |  |  | 0 |  |  | 0 |  |  | 345 | 84 | 431
RPP-R4-B6 | RPP | RPP-R4-B6 |  |  |  |  | 0 |  |  | 0 |  |  | 345 | 84 | 431
RPP-R5-B1 | RPP | RPP-R5-B1 |  |  |  |  | 0 |  |  | 0 |  |  | 920 | 84 | 1150
RPP-R5-B2 | RPP | RPP-R5-B2 |  |  |  |  | 0 |  |  | 0 |  |  | 920 | 84 | 1150
RPP-R5-B3 | RPP | RPP-R5-B3 |  |  |  |  | 720 |  |  | 0 |  |  | 920 | 84 | 1150
RPP-R5-B4 | RPP | RPP-R5-B4 |  |  |  |  | 675 |  |  | 0 |  |  | 920 | 84 | 1150
UPS-01 | UPS | UPS 01 |  |  |  |  | 450 |  |  | 36 | [17 empty] | 780 | 800 | 1000
UPS-02-A | UPS | UPS-02-A |  |  |  |  | 2955 |  |  | 76 | [17 empty] | 9000 | 9600 | 12000
UPS-02-B | UPS | UPS-02-B |  |  |  |  | 2955 |  |  | 0 | [17 empty] | 9000 | 9600 | 12000
BDL-UPS-01 | UPS Bundle | UPS Bundle 01 |  |  |  |  | 450 |  |  | 36 | [22 empty] | 940 | 920 | 940
BDL-UPS-02 | UPS Bundle | UPS Bundle 02 |  |  |  |  | 2955 |  |  | 76 | [22 empty] | 8060 | 8050 | 8060
BDL-RPDU-R1R2 | Room PDU Bundle | Room PDU Bundle 01 |  |  |  |  | 450 |  |  | 36 | [22 empty] | 940 | 920 | 940
BDL-RPDU-R3R4 | Room PDU Bundle | Room PDU Bundle 02 |  |  |  |  | 1560 |  |  | 52 | [22 empty] | 4520 | 4370 | 4520
BDL-RPDU-R5 | Room PDU Bundle | Room PDU Bundle 03 |  |  |  |  | 1395 |  |  | 24 | [22 empty] | 3540 | 3680 | 3540
CDIST-01 | Cooling Distribution | Cooling Distribution Loop 01 |  |  |  |  | 450 |  |  | 72 | [25 empty] | 1000
CDIST-A-02 | Cooling Distribution | CDIST-A-02 |  |  |  |  | 1185.75 |  |  | 24 | [26 empty] | 2000
CDIST-L-02 | Cooling Distribution | CDIST-L-02 |  |  |  |  | 209.25 |  |  | 24 | [25 empty] | 7000